**Lead Action Level Exceedance Notice**

**DRINKING WATER WARNING**

**Sampling shows elevated lead levels in homes 724 E. High, 326 w. Clinton, 321 w. Green.**

**City of Farmer City** found elevated levels, of lead in drinking water in some homes/buildings. **City of Farmer City** may also have tested your home or building. If they did, you should receive or may have already received these results. These results are specific to your home/building and may be different from the results taken in other locations. Lead can cause serious health problems, especially for pregnant women and young children. Please read this information closely to see what you can do to reduce lead in your drinking water.

## What is an Action Level?

The lead action level is a measure of the effectiveness of the corrosion control treatment in water systems. The action level is not a standard for establishing a safe level of lead in a home. To check if corrosion control is working, EPA requires water systems to test for lead at the tap in certain homes, including those with lead service lines. Systems compare sample results from homes to EPA’s action level of 0.015 mg/L (15 ppb). If 10 percent of the samples from these homes have water concentrations that are greater than the action level, then the system must perform actions such as public education, adjusting treatment, and lead service line replacement.

## What Happened?

Between **July 2024** and **December 2025**, we collected **20** samples and analyzed them for lead. The results of more than 10 percent of our samples exceeded the action level for lead. In spring of 2024 we were required by the EPA to change all of our sample addresses to only lead line services. We do these tests every six months to check lead And copper levels and have for years. With the recent change its no surprise that we had limits over the minimum required by the EPA. We will continue to do these test as the EPA requires us to do and continue to update these service lines to plastic over next couple years.

**City of Farmer City** is focused on protecting the health of every household in our community; however, lead from service lines and lead plumbing and fixtures can dissolve or break off into water and end up at the faucet. We found that **lead service lines, lead in plumbing, lead joints, etc.** are **the** sources of lead in your drinking water. This does not mean that every property that receives drinking water from **City of Farmer City** has lead in the drinking water. It does mean that you should understand how to reduce your exposure to lead through water. Keep in mind that drinking water is not the only potential source of lead exposure, since lead can be found in air, soil, and paint. For more information on all sources of lead, visit [https://www.epa.gov/lead.](https://www.epa.gov/lead)

## Health Effects of Lead

*\*Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney, or nervous system problems.\**

## Steps You Can Take to Reduce Your Exposure to Lead in Your Water

Below are recommended actions that you may take, separately or in combination, if you are concerned about lead in your drinking water. The list also includes where you may find more information and is not intended to be a complete list or to imply that all actions equally reduce lead from drinking water.

* **Use your filter properly**. Using a filter can reduce lead in drinking water. If you use a filter, it should be certified to remove lead. Read any directions provided with the filter to learn how to properly install, maintain, and use your cartridge and when to replace it. Using the cartridge after it has expired can make it less effective at removing lead. Do not run hot water through the filter. For more information on facts and advice on home water filtration systems, visit EPA’s website at [*https://www.epa.gov/ground-*](https://www.epa.gov/ground-water-and-drinking-water/home-drinking-water-filtration-fact-sheet)[*water-and-drinking-water/home-drinking-water-filtration-fact-sheet*](https://www.epa.gov/ground-water-and-drinking-water/home-drinking-water-filtration-fact-sheet)and EPA’s [Consumer Tool for](https://www.epa.gov/sites/default/files/2018-12/documents/consumer_tool_for_identifying_drinking_water_filters_certified_to_reduce_lead.pdf) [Identifying Drinking Water Filters Certified to Reduce Lead.](https://www.epa.gov/sites/default/files/2018-12/documents/consumer_tool_for_identifying_drinking_water_filters_certified_to_reduce_lead.pdf)
* **Clean your aerator.** Regularly remove and clean your faucet’s screen (also known as an aerator). Sediment, debris, and lead particles can collect in your aerator. If lead particles are caught in the aerator, lead can get into your water.
* **Use cold water**. Do not use hot water from the tap for drinking, cooking, or making baby formula as lead dissolves more easily into hot water. Boiling water does not remove lead from water.
* **Run your water.** The more time water has been sitting in your home’s pipes, the more lead it may contain. Before drinking, flush your home’s pipes by running the tap, taking a shower, doing laundry, or doing a load of dishes. The amount of time to run the water will depend on whether your home has a lead service line or not, as well as the length and diameter of the service line and the amount of plumbing in your home. Residents may contact us at **309-928-3412** for recommendations about flushing times in their community.
* **Learn what your service line material is.** Contact us at **309-928-3412** or a licensed plumber to determine if the pipe that connects your home to the water main (called a service line) is made from lead, galvanized, or other materials. To find out about what we are doing to replace lead service lines, please contact city hall at **309-928-3412.**  [Protect Your Tap: A quick check](https://www.epa.gov/ground-water-and-drinking-water/protect-your-tap-quick-check-lead-0) [for lead](https://www.epa.gov/ground-water-and-drinking-water/protect-your-tap-quick-check-lead-0) is EPA’s on-line step by step guide to learn how to find lead pipes in your home.
* **Learn about construction in your neighborhood.** Contact us at **309-928-3412** to find out about any construction or maintenance work that could disturb your service line. Construction may cause more lead to be released from a lead service line if present.
* **Have your water tested.** Contact us at **309-928-3412** to have your water tested and to learn more about the lead levels in your drinking water.

## Get Your Child Tested to Determine Lead Levels in His or Her Blood

A family doctor or pediatrician can perform a blood test for lead and provide information about the health effects of lead. State, city, or county departments of health can also provide information about how you can have your child's blood tested for lead. The Centers for Disease Control and Prevention (CDC) recommends that public health actions be initiated when the level of lead in a child’s blood is 3.5 micrograms per deciliter (µg/dL) or more. For more information and links to CDC’s website, please visit [https://www.epa.gov/ground-water-and-](https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water) [drinking-water/basic-information-about-lead-drinking-water.](https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water)

## What is Being Done?

The actions that we are taking are following **Federal AND/OR State lead and copper regulations** listed below.

<https://www.ecfr.gov/cgi-bin/text-idx?SID=9c5415b2fe8eb76878a169c14454171f&mc=true&node=sp40.25.141.i&rgn=div6>

In addition to the information mentioned above that we will provide to residents at locations we sampled, we will also be following up with additional public education to all our customers by February 28th 2025.

**City of Farmer City** balances water chemistry at the treatment plant to minimize pipe and plumbing components from corroding and leading to the possibility of lead dissolving into water. This process is known as corrosion control. We are completing an assessment of the corrosion control treatment currently used by our water system in the month of Feb. 2025. The chemical we use to treat our lead is a blended polyphosphate called WSU 110 and have been using it for many years.

We are removing the lead service lines, which is a common source of lead in drinking water. **This summer we will be completing at least 4 service lines replacements, and if any watermains are to be replaced this summer we will focus on the areas with most amount of lead services.**

We also plan to take the following steps:

* We are conducting additional lead and/or water quality monitoring of our water system supply.
* We are increasing our lead monitoring to determine the extent of the situation.
* We are investigating and removing lead-containing plumbing materials within the system as we come across them. Lead free brass fittings is all the city uses now to repair any watermains and or services.

For more information, please contact **City of Farmer City** at **309-928-3412** or City hall at **105 s. Main, Farmer City Illinois 61842**. General guidelines on ways to lessen the risk from lead in drinking water are available from EPA’s website [https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-](https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water) [water.](https://www.epa.gov/ground-water-and-drinking-water/basic-information-about-lead-drinking-water)

*\*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.\**

This notice is being sent to you by **The City of Farmer City.** State Public Water System (PWS) ID#: 0390150. Date distributed: 1/28/2025.